## Slide 1: Weekly Report 11/14/22
Erin Ingram & Omar Mahmood
NanoBio Systems Lab
Texas A&M University

## Slide 2: Progress
Fabricated more PDMS copies of high pass filter
Bonded PDMS to IDE
Found fault in high pass filter
  Channel dimensions were printed 25 um less than specified
Began droplet generation for experimentation
  150 um droplets generated

## Slide 3: Goals for next week
Complete droplet generation
  size 30-40 um
Correct high pass printing error
Test and validate both devices

## Slide 4: Thank you for your time!