## Slide 1: Final Demo Interdigitated Electrodes for Droplet Sorting in Microfluidics Erin Ingram & Omar Mahmood Faculty: Dr. Arum Han, Dr. Han Zhang NanoBio Systems Lab
Notes: Erin

## Slide 2: 5μm IDE
89.8%
efficiency
Sorting out Large droplets
(>90 microns)

## Slide 3: 10μm IDE
96.2%
efficiency
Sorting out Large droplets
(>90 microns)

## Slide 4: 20μm IDE
77.2%
efficiency
Sorting out Large droplets
(>90 microns)
Lots of false positives! This E-field reaches higher than the others, so it interacts with the smaller droplets more, making it harder to affect only larger droplets.

## Slide 5: Threshold Voltage (Trial 1)
Droplet Size (um) | Threshold Voltage (mV)
90 | 90 87.5 Average

## Slide 6: Threshold Voltage (Trial 2)
Droplet Size (um) | Threshold Voltage (mV)
100 | 120 122.5 Average
**Same procedure for all droplet sizes tested

## Slide 7: Image Processing
New method – collecting and imaging outputs

## Slide 8: Image Processing

## Slide 9: Thanks! Questions?

## Slide 10: High-pass Filter Validation
96%
efficiency
Sorting out Large droplets
(>100 microns)

## Slide 11: Band-pass Filter Validation
1st stage:
93%
efficiency
2nd stage:
92%
efficiency

## Slide 12: Threshold Voltage Trendline