## Slide 1: Team 78: Interdigitated Electrodes in Microfluidics Bi-Weekly Update 2 Erin Ingram and Omar Mahmood Sponsor: Dr. Arum Han, Dr. Han Zhang TA: Dalton Cyr
Notes: Omar

## Slide 2: Project Summary
Mitigating satellite droplets in microfluidic “lab-on-a-chip” devices that lead to false test results in drug screenings, disease diagnostics, DNA analysis applications
Using interdigitated electrodes (IDEs) to perform size-based filtration on microfluidic droplets
Notes: Omar

## Slide 3: Project/Subsystem Overview
Diagram showing subsystems – with labels showing subsystem owners
Bullets giving essential system/subsystem characteristics
If major changes in subsystems, show before and after … see next slide
Notes: both

## Slide 4: Project Timeline
High level figure showing where you are at in the project, what’s completed, what’s underway – it should take about 30 seconds to summarize where you are in the timeline
-- Save discussion for subsystem update
-- Save detail for execution plan & validation plan status
Fabrication
Fabricated High Pass Filter
Fabricated Band Pass Filter
Fabricated IDE’s
Preliminary Validation
No leakages or blockages
High Pass filter sorts within acceptable range
Band Pass filter sorts within acceptable range
Experiments & statistical analysis
Test different voltages
Test different IDE parameters
Use image processing software
Validation of whole device
Run whole system together
Test droplet maneuverability between filters
Component Optimization
Refabricate IDE’s if needed
Design new channels if needed
Decide on IDE parameters
Notes: erin

## Slide 5: Subsystem 1: High Pass Filter Omar
Accomplishments since 403 6 hrs of effort | Ongoing progress/problems and plans until the next presentation
Designed and printed corrected channel Simulated electric field heights for future experiments Planned experiments Started on image processing | Complete analysis using Fiji Conduct experiment using varying voltages
Notes: omar

## Slide 6: Subsystem 2: Band Pass Filter Erin
Currently working on: 6 hours of effort since 403 | Plan for next 2 weeks:
Image processing to get statistics on how well my previous experiment went Designing experiments to investigate voltage vs flow rate, IDE size/spacing | Progress on experiments Image process results from voltage experiments
Notes: erin

## Slide 7: Image Processing
  Unforeseen difficulties
    Lab personnel
    Download time

## Slide 8: Sample Simulation Results
V = 0.5V
V = 1.0V
V = 0.75V
Notes: omar

## Slide 9: Experimental Plans For both subsystems
Voltage vs flow rate
  As voltage increases, need to increase flow rates to carry heat out of the system more quickly, avoid burning up IDEs
  Test multiple voltages and see what flow rates are most effective against each voltage – create plot of this
  Can’t plan what voltages to test in advance
    How much voltage the IDEs can take depends on fabrication – need to standardize our next fabrication process
    Start at 0.5 V and go from there
  10um IDE control
Notes: erin

## Slide 10: Experimental Plan, cont.
IDE size/spacing
  Simpler experimental plan
    Test filtration using 5um, 10um, 20um IDEs
    Hold voltage constant at 0.5 V
Notes: omar

## Slide 11: Execution Plan
Date | Accomplishment
February 22 | Complete image processing on our previous experiments At least one experiment
March 8 | Continue experiments
March 22 | Continue experiments
April 5 | Image analysis on all experiments Thesis final installment
April 19 | Finalize optimal device design
May 3 | Validation of entire system
Notes: erin

## Slide 12: Validation Plan
Things we need to do: | Progress | Subsystem
Image processing on preliminary validation experiments |  | Both
Voltage experiment: 0.5V |  | Both
Voltage vs Flow Rate experiment 1 |  | Both
Voltage vs Flow Rate experiment 2 |  | Both
Voltage vs Flow Rate experiment 3 |  | Both
IDE experiment: 5um |  | Both
IDE experiment: 10um |  | Both
IDE experiment: 20um |  | Both
Image processing on all voltage and IDE experiments |  | Both
Determine best voltage & IDE combo |  | Both
Final experiments with best parameters |  | Both
Notes: erin

## Slide 13
Thank you!
Questions?